**How to update Sunsynk inverter with the Irish firmware version**

Diagram, engineering drawing

Description automatically generatedPlease note, the first 7 pages are copied from the data logger manual to outline how to setup the Sunsynk data logger with the Sunsynk hybrid inverter.

Graphical user interface, website

Description automatically generated

Graphical user interface, application

Description automatically generated

Graphical user interface, website

Description automatically generated

Text

Description automatically generated

Graphical user interface, application

Description automatically generated

Graphical user interface, application

Description automatically generated

Graphical user interface, application

Description automatically generated

**The following pages are outlining how to update the firmware using the Sunsynk data logger and web app**

Once you have the data logger successfully connected, you can now force out an update to the inverter with the Irish firmware.

1. On the Sunsynk web app, go to firmware then inverter firmware

Graphical user interface, text, application

Description automatically generated

1. On the inverter firmware page, select publish

Table

Description automatically generated

1. Complete the essential information on the page and then select the settings cog next to “Type”

Graphical user interface, application

Description automatically generated

1. Click add new primary label and give it a name
2. Click add secondary label and give it a name.

Graphical user interface, application, Word

Description automatically generated

1. Once you have added the type, select it from the drop-down list and then select the firmware files

Graphical user interface, text, application, email

Description automatically generated

1. Select the Irish firmware upgrade and then click open

Graphical user interface, application

Description automatically generated

1. Click confirm

Graphical user interface, text, application

Description automatically generated

1. Next, go to equipment and then inverter

Table

Description automatically generated with medium confidence

1. Next to the inverter you want to upgrade, select more and then Upgrade

Calendar

Description automatically generated

1. Select the firmware type and then select the type you have just created.

Graphical user interface, application

Description automatically generated

1. Finally select the version and click confirm.
2. Graphical user interface, application

   Description automatically generatedYou can track the progress of your upgrade by clicking the status next to the inverter.

Table

Description automatically generated with low confidence